**SHUT DOWN**

**MAIN SOUTH ROOF AHU MAINTENANCE**

**February 2025**

**Please note the fume cupboards will be shut down for essential maintenance by ESTATES. During these times you will have NO EXTRACTION on your FCs, work requiring EXTRACTION will have to be done when the FCs are back to normal. Signs will be placed in the fume cupboards - “DO NOT USE PEOPLE WORKING ON ROOF” to inform you of in-process work.**

**Permits retrievable from Tony Oldroyd, James Griffiths and Mike Paradowski.**

**Do not isolate Mass spectrometer lab without permission from Lindsey Owen / Lab RP.**

**Mass Spectrometer extract may still run while AHU maintenance is being carried out on the roof providing NO WORK is undertaken in the fume cupboards.**

|  |
| --- |
| **CONTACTS: - James Griffith’s ext. 76773 - Room 0.92, Mike Paradowski ext. 10847 – Room 0.19, Anthony Oldroyd ext. 75092 – Room -1.16b, Lindsey Owen ext. 76665 via 1.05, Edward Inglis ext., office 1.54** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Date** | **AHU Number** | **AHU Feeding Lab** | **Fume cupboards** | **TIME** | |
| **From** | **Until** |
| **South**  **East Roof**  **Monday, Tuesday, Wednesday**  **24th – 26th February 2025** | **AHU 100 (1)**  **AHU 101 (2)**  **AHU 102 (3)**  **AHU 103 (4)**  **AHU 104 (5)**  **AHU 105 (6)**  **AHU 189** | 0.04/0.05, 0.10  0.11A  1.17  1.20  1.21 INC INTERNAL FILTERS  0.16  2.16  3.01  0.10 & 0.11a (MDI) | **ALL SOUTH EAST EXTRACT INC FC321 (For safety reasons) Including 0.05/ -1.15/ -1.17/ 1.22/ 2.14/2.17** | 08:30 | 15:30HRS |
| **South Central Roof**  **Thursday & Friday 27th February 2025** | **AHU 106 (7)**  **AHU 109 (10)**  **AHU 108 (9)**  **AHU 107 (8)**  **AHU 112 (13)**  **AHU 113 (14)**  **AHU 293 - MASS SPEC** | 2.10  1.57, 1.58 (Chemistry)  0.30 A &B (Chemistry)  2.35, 1.51  1.31  1.42, 1.43 (Chemistry)  NEW MASS SPEC AREA -1.42  (Departmental staff to be on hand during shutdown & start up) (ESTATES do not turn off without Lindsey Owen or lab RP) | **ALL SOUTH CENTRAL EXTRACT including -1.34b/ 2.17/ 2.19/ 2.22** | 08.30 | 15:30hrs |
| **Southwest Roof**  **Thursday & Friday 27th February 2025** | **AHU 110 (11)**  **AHU 111 (12)**  **VC HRU 01**  **VC HRU 02** | 0.30C (Chemistry)  0.44 (Chemistry)  0.45H Pro VC’s  0.45J Pro VC’s | **ALL SOUTH WEST EXTRACT** | 08.30hrs | 15.30hrs |

**Operatives to Liaise with John Blakemore and FC Team as to exact which AHU’s to work on.**

Thank you for your co-operation.

Diagram

Description automatically generated